## Door Schedule
Door Schedule - Level 1
Mark | Room | Width (mm) | Height (mm) | Fire Rating | Hardware Set | Remarks
D101 | Lobby | 1800 | 2400 | - | HW-01 | Double leaf, glazed
D102 | Reception | 900 | 2100 | - | HW-02
D103 | Office 1 | 900 | 2100 | - | HW-02
D104 | Office 2 | 900 | 2100 | - | HW-02
D105 | Meeting Room | 1000 | 2100 | - | HW-03 | Acoustic seal
D106 | Stair A | 1000 | 2100 | 60 min | HW-04 | Self-closing
D107 | Electrical Room | 1000 | 2100 | 60 min | HW-05 | Lockable
D108 | Storage | 900 | 2100 | 30 min | HW-05

## Panel Loads
Panel LP-1 Load Summary
Circuit | Description | Current | Load | Demand | Conduit (in)
1 | Lighting - Lobby | 6.4 | 1.47 | 100% | 0.5
2 | Lighting - Offices | 8.2 | 1.89 | 100% | 0.5
3 | Receptacles - Offices | 12.5 | 2.88 | 50% | 0.75
4 | Receptacles - Meeting | 9.1 | 2.09 | 50% | 0.75
5 | Fan Coil Unit FCU-1 | 4.8 | 1.1 | 80% | 0.5
6 | Water Heater WH-1 | 18 | 4.14 | 100% | 1.25